## 1
Item | Description | Unit | Qty | Unit Rate $ | Total $
AIR CONDITIONING SYSTEM
1 | VRV SYSTEM
Supply and install,test and commission heat pump VRV (variable refrigerant volume) system , Refrigerant R410. Complete with the outdoor and indoor units,piping network,control system and all necessary parts needed according to drawing and specifications.As for the following:
1.1 | Outdoor Units
Supply, install and commission of an outdoor Unit Modular type includes multi independent rotary or scroll compressors with one inverter or digital compressor for capacity change ability with all necessary connections ,galvanized steel base, fittings,distribution joints ,control wires and fixing on the roof of the building with sufficient suction area,The price include all electrical works, distribution boards, control panel and cables and every works to complete the works According to specs & the following cooling capacity:
A. | 20 Hp (45 kW) | Set. | 1 | 5000 | 5000
1.2 | Indoor units
1.2.A | Wall Mounted type
supply and install and commission of Indoor Unit split type, . All according to the cooling capacity as in the drawings and the following capacity :
A. | 2.2 KW capacity | No | 2 | 600 | 1200
B. | 2.8 KW capacity | No | 7 | 650 | 4550
C. | 5.6 KW capacity | No | 7 | 800 | 5600
D. | 7.1 KW capacity | No | 3 | 1000 | 3000
1.3 | Drainage System
| Supply and install of drainage network for all indoor units type CPVC Pipes and connect it to the nearest drain or roof drain pipes . | LS | 1 | 500 | 500
2 | Refnet
2.1 | Refnet Branch joint(F)
A. | MXJ-YA1509K | No | 12 | 80 | 960
B. | MXJ-YA2512K | No | 4 | 100 | 400
2.2 | Refnet First Branch joint(E)
A. | MXJ-YA2815K | No | 3 | 120 | 360
2.3 | Refnet Branch joint(D)of outdoor unit multi connection
A. | MXJ-T3819K | No | 1 | 110 | 110
3 | Copper Gas And Liquid Pipes
Copper gas pipe of different size and protected with industry Sponge. Price includes all required fittings for complete installation e.g. fittings supports, and hangers.
a- | 1/4" diameter. | ML. | 99 | 8 | 792
b- | 1/2" diameter. | ML. | 87 | 10 | 870
c- | 3/8" diameter. | ML. | 60 | 6 | 360
d- | 5/8" diameter. | ML. | 57 | 12 | 684
e- | 3/4" diameter. | ML. | 9 | 14 | 126
f- | 1" diameter. | ML. | 2 | 20 | 40
| TOTAL |  |  |  | 24552