  - Introduction

Air conditioning is to maintain the environment in enclosed spaces at conditions that induce the feeling of comfort to all occupants of the spaces ,This feeling of comfort is influenced by a number of air related parameters which are inside air temperature , humidity air motion and its speed and the air purity .

Modern plumbing design for buildings , is to safely and reliably provide domestic water , cooking gas and water for fire fighting and to remove sanitary wastes, So in this project, the outlet water that goes from all fixture units except water closets are treated and reused to feed the  toilet flushing valve which its consumption relative is 35% of the total daily consumption.

Fire safety is very important in all places. Without fire alarms, a lot of things may be lost like people and expensive things. In this case, firefighting system should be installed to save the material inside building .

  - Project objectives

- To design the mechanical services for the social building.

- To use the gray water and reuse it.

- Design variable refrigeration flow (VRF) air conditioning system for the building.

- Design fire fighting system.

  - Project importance

- In order to achieve all means for human comfort .

- Water conservation and optimum exploitation for Grey water which treated.

- To protect people and expensive things from fire.

1.4  Building description

Headquarters of charities building site is in Abu Ktaila . It consists of five floors, the area of each floor is 400 m2 .

1.5  Project outline

The project contains four chapters; these chapters are arranged as follows:

Chapter one: - Introduction

This chapter include overview about the project, project objectives, building description and time planning.

Chapter Two: - Heating Ventilating And Air Conditioning " HVAC System".

This chapter talks about the air conditioning system which is Variable Refrigerant Flow (VRF) .

Chapter Three: - Plumbing System.

This chapter include the water distribution calculation, drainage system and   include procedures of grey water treatment and use it for flushing tank and irrigation.

Chapter Four: -  Firefighting system.

This chapter present the suitable choice depends on the function of the building by the fire extinguishing system .

1.6  Key words

- HVAC : Heating Ventilation and Air Conditioning .

- VRF : Variable Refrigeration Flow .

- WSFU: Water Supply Fixture Unit used to calculate the portable maximum water demand for the building .

- DFU: Drainage Fixture Unit used to calculate the provision of drainage system .

1.7 Time table:

Table (1.1): Time table for the first semester.

| Objective | Week # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| Estimate goals of project |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Planning, setting project concepts and goals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Establishing scientific background and visit Engineers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Studying mechanical services books |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Analyzing data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HVAC calculations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Writing report |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Presentation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Table (1.2): Time table for next semester.

| Objective | Week # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |
| Set and review goals of Project |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design plumbing system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Gray water and Irrigation System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Firefighting system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design HVAC system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Writing documentation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Printing documentation out |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |