4

Chapter 4

Structural Analysis And Design

4.1 Introduction.

4.2 Design method and requirements.

4.3 Check of Minimum Thickness of Structural Member.

4.4 Design of topping.

4.5Design of One Way-ribbed Slab (R1).

4.6Design of Beam(B16).

4.7 Design of Two way Solid Slab .

4.8 Design of Stair.

4.9 Design of Column .

4.10  Design of Basement wall

4.11 Design of footing.

  - Introduction:

Many structures are built of reinforced concrete: bridges, buildings, retaining walls, tunnels, and others. Reinforced concrete is logical union of two materials: plain concrete, which possesses high compressive strength but little tensile strength, and steel bars embedded in the concrete, which can provide the needed strength in tension. Plain concrete is made by mixing cement, fine aggregate, coarse aggregate, water, and frequently admixtures. Understanding of reinforced concrete behavior is still far from complete, building codes and specifications that give design procedures are continually changing to reflect latest knowledge.

Structural concrete can be classified into:

- Lightweight concrete with unit weight from about 1350 to 1850 kg/m3.

- Normal weight concrete with unit weight from about 1800 to 2400 kg/m3.

- Heavyweight concrete with unit weight from about 3200 to 5600 kg/m3.

  - Design method and requirements:

The design strength provided by a member is calculated in accordance with the requirements and assumptions of ACI _ code (318_08).

- Strength design method:

In ultimate strength design method, the service loads are increased by factors to obtain the load at which failure is considered to be occurring.

This load called factored load or factored service load. The structure or structural element is then proportioned such that the strength is reached when factored load is acting. The computation of this strength takes into account the nonlinear stress-strain behavior of concrete.

The strength design method is expressed by the following,

Strength provided ≥ strength required to carry factored loads.

NOTE:

The statically calculation and the key plans dependent on the architectural plans.

- Code :    ACI 2008

UBC

- Material :

Concrete:    B300….For circular section

but for rectangular section () .

Reinforcement steel: The specified yield strength of the reinforcement{fy =420 N/mm² (MPa)}

- Factored loads:

The factored loads for members in our project are determined by:

Wu = 1.2 DL + 1.6 LL                   ACI-code-318-08(9.2.1).

4.3 Check of Minimum Thickness of Structural Member:

Table (4. 1) MINIMUM THICKNESS OF NONPRESTRESSED BEAMSOR ONE-WAY SLABS UNLESS DEFLECTIONS ARE CALCULATED.  (ACI 318M-11)

| Minimum thickness ( h) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Member | Simply Supported | One end continuous | Both end continuous | Cantilever |
| solid one way slabs | L/20 | L/24 | L/28 | L/10 |
| Beams or ribbed one way slabs | L/16 | L/18.5 | L/21 | L/8 |

- For Rib :

hminfor (one end continuous)=L/18.5=625/18.5=33.8cm

hminfor (both end continuous)=L/18.5=703/21=33.5cm

- ForBeam :

hmin for(one end continuous)=L/18.5=507/18.5= 27.4cm

hminfor(both end continuous)=L/21=600/21=28.6cm

The minimum thickness will be hmin=35cm

select 35cm for rib slab with hidden beam

h=35cm (27 cm Hollow Block+8 cm Topping)

4.4 Design of topping:

- Statically system for topping :

Consider the topping as strip of (1m) width, and span of mold length with both end fixed in the ribs.

Figure 4. 1 topping load.

- Load calculations:

Dead load calculations:

Table (4. 2) Dead load calculation Topping

| Dead load from: | δ×γ×1 | KN/m |
| --- | --- | --- |
| Tiles | 0.03×23×1 | 0.69 |
| Mortar | 0.02×22×1 | 0.44 |
| Coarse sand | 0.07×17×1 | 1.19 |
| Topping | 0.08×25×1 | 2 |
| Interior partitions | 2.3×1 | 2.3 |
|  | ∑ | 6.62KN/m |

- Live Load :

LL =4 KN/m2

LL =4 KN/m2×1m=4KN/m

- Factored Load :

WU = 1.2 ×6.62 + 1.6×4 =14.344 KN/m

Check the strength condition for plain concrete, øMn ≥ Mu, where ø = 0.55

Mn = 0.42 λ fc' Sm   (ACI 22.5.1, equation 22-2)

Sm=b.h26=1000.8026=1066666.67 mm2

øMn =0.55×0.42×1×24 ×1066666.67 ×10-6 =1.21KN.m

Mu = WuL212=0.191 KN.m                                   (negative moment)

Mu = WuL224=0.0956KN.m                                 (positive moment)

øMn>> Mu =  0.191 KN.m

No reinforcement is required by analysis. According to ACI 10.5.4, provide As,minfor slabs as shrinkage and temperature reinforcement.

ρshrinkage= 0.0018                                               ACI 7.12.2.1

As = ρ × b × htopping =0.0018 ×1000×80 = 144 mm2/m

Step (s) is the smallest of:

- 3h = 3×80 =240 mm         control by ACI 10.5.4

- 450mm.

- S =380280fs-2.5Cc=380 28023420-2.5 .20=330mm ACI 10.6.4 OR

S ≤300280fs=300 mm

Take ø 8 @ 200 mm in both direction , S = 200 mm <Smax = 240 mm … OK

4.5 Design of One-Way Ribbed Slab(R1) :

Requirements For Ribbed Slab Floor According to      ACI- (318-08) .

bw ≥ 10cm……………………………………………ACI(8.13.2)

Select bw=12cm

h ≤ 3.5*bw  ……………………………….…….. ACI(8.13.2)

Select h=35cm<3.5*12=42 cm

tf ≥ Ln/12≥50mm ………………………………….ACI(8.13.6.1)

Select tf=8cm

- Statically system and Dimensions

Figure 4. 2 One Way Rib slab (R1)

Load  calculations :

- Dead load:

Table (4. 3) Dead load calculation Topping of ribS

| Dead load from: | h×γ×b | KN/m |
| --- | --- | --- |
| Tiles | 0.03×23×0.52 | 0.359 |
| Mortar | 0.03×22×0.52 | 0.343 |
| Coarse sand | 0.07×17×0.52 | 0.619 |
| Topping | 0.08×25×0.52 | 1.04 |
| R.c rib | 0.27×25×0.12 | 0.81 |
| Hollow block | 0.27×10×0.4 | 1.08 |
| Plaster | 0.03×22×0.52 | 0.343 |
| Interior partitions | 2.3×0.52 | 1.196 |
|  | ∑ | 5.79 KN/m |

Dead  load /rib = 5.79 KN/m

- Live load =4KN/M2

Live load /rib = 4KN/m2 × 0.52m = 2.08 KN/m.

- The effective flange (be) :

1) be ≤L4=54004=1350 mm

2) be≤ bw +16hf=120+16*80=1400mm

3) be≤ center to center spacing between adjacent beam = 4002+4002+120=520mm

Take be=520 mm

Figure 4. 3 Shear & Moment Envelope Diagram (R1)

- Design of positive moment:

- Mu = 35.3 , 30.8 , 33 KN.m.

Assume bar diameter ø 14 for main positive reinforcement.

d =h- cover - dstirrups-db2=350-20-8-142=315 mm

Check if  a>hf  to determine whether the section will act as rectangular or T- section,

Mnf =0.85. fc'.be.hf.(d-hf2)

= 0.85×24×520×80×315 -802×10-6=233.37 KN.m

Mnf≫ Muφ=35.3  0.9=   39.2  KN.m

the section will be designed as rectangular section with  be =520 mm.

Rn=Mu∅bd2=35.4×1060.9×520×3152=0.76 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.76420=.001844

As,req = ρ.b.d = 0.001844×520×315 = 302.14mm2

- Check for As,min.

As,minis the maximum of :-

As,min =0.25f'cfybw.d≥1.4fybw.d

- As,min =0.2524420 120×315=110.23 mm2

- As,min =1.4420120×315=126 mm2  Control

As = 302.14 mm2>As,min = 126 mm2

Use 2ø14 ,As,provided= 307.87 mm2>As,required= 302.14 mm2.         Ok

Check for strain:

a =As.fy0.85b fc'=307.87×4200.85×520×24=12.19 mm

c=aB1=12.190.85=14.34 mm

εs=0.003d-cc=0.003315-14.3414.34=0.94>0.005     0k

- Mu = 19.8 , 18.3  KN.m.

Assume bar diameter ø 14 for main positive reinforcement.

d =h- cover - dstirrups-db2=350-20-8-122=316 mm.

Check if  a>hf  to determine whether the section will act as rectangular or T- section,.

Mnf =0.85. fc'.be.hf.(d-hf2)

= 0.85×24×520×80×316 -802×10-6=234.22 KN.m

Mnf≫ Muφ=19.80.9=  22 KN.m

the section will be designed as rectangular section with  be =520 mm.

Rn=Mu∅bd2=19.8×1060.9×520×3162=0.424 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.424420=0.00102

As,req = ρ.b.d = 0.00102×520×316 = 167.65mm2

- Check for As,min.

As,minis the maximum of :-

As,min =0.25f'cfybw.d≥1.4fybw.d

- As,min =0.2524420 120×315=110.227 mm2

- As,min =1.4420120×315=126mm2  Control

As = 167.65 mm2>As,min = 126.4mm2

Use 2ø12 ,As,provided= 226.19 mm2>As,required= 167.65mm2.         Ok

- Check for strain:

a =As.fy0.85b fc'=226.19×4200.85×520×24=8.95 mm

c=aB1=8.950.85=10.53 mm

εs=0.003d-cc=0.003316-10.5310.53=0.087 >0.005     0k

- Design of negative moment  for face of  support  :

- Mu = -33.9 , 33.5 KN.m.

Assume bar diameter ø 16 for main positive reinforcement.

d =h- cover - dstirrups-db2=350-20-8-162=314 mm.

Rn=Mu∅bd2=33.9×1060.9×120×3142=3.18 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×3.18420=0.00828

As,req = ρ.b.d = 0.00828 ×120×314  = 311.88mm2

- Check for As,min.

As,minis the maximum of :-

As,min =0.25f'cfybw.d≥1.4fybw.d

- As,min =0.2524420 120×314=109.8 mm2

- As,min =1.4420120×314=125.6  mm2 Control

As = 311.88 mm2>As,min = 125.6mm2

Use 2ø16 ,As,provided= 402 mm2>As,required= 311.88 mm2.         Ok

- Check for strain:

a =As.fy0.85b fc'=402×4200.85×120×24=68.97 mm

c=aB1=68.970.85=81.14 mm

εs=0.003d-cc=0.003314-81.1481.14=0.0086>0.005                0k

- Mu = -32.9 , 32.5 KN.m.

Assume bar diameter ø 14 for main positive reinforcement.

d =h- cover - dstirrups-db2=350-20-8-142=315 mm.

Rn=Mu∅bd2=32.9×1060.9×120×3152=3.07 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×3.07420=0.00796

As,req = ρ.b.d = 0.00796 ×120×315  = 300.98mm2

- Check for As,min.

As,minis the maximum of :-

As,min =0.25f'cfybw.d≥1.4fybw.d

- As,min =0.2524420 120×315=110.2 mm2

- As,min =1.4420120×315=126  mm2 Control

As = 300.98 mm2>As,min = 126 mm2

Use 2ø14 ,As,provided= 307.88 mm2>As,required= 300.98 mm2.         Ok

- Check for strain:

a =As.fy0.85b fc'=307.88×4200.85×120×24=52.82 mm

c=aB1=52.820.85=62.14 mm

εs=0.003d-cc=0.003315-62.1462.14=0.0122>0.005                0k

- Shear Design for (R1):

Vu at distance d from  support= 33.4 KN

Shear strength Vc, provided by concrete for the joists may be taken 10% greater that for beams. This is mainly due to the interaction between the slab and closely spaced ribs. (ACI, 8.13.8).

Vc =1.16 λ fc'bwd=1.1624 ×120×316×10-3=34.05KN

øVc =0.75×34.05 =25.5 KN.

0.5 ø Vc =0.5×25.5=12.77 KN

0.5 ø Vc< Vu< ø Vc    …………….  NOT OK

- Shear Design for (R1):

Vu,max = 33.4 KN.

d= h-cover-dstirrup-db2 = 350-40-10-142=286 mm.

Vc = 16fc'b.d=1624×120×286×10-3=28.022 KN

Check for section dimensions:

Vs =Vu∅-Vc=33.40.75-28.022=16.5KN

Vs,max = 23fc'b.d=2324×120×286×10-3=112.08 KN

Vs<Vsmax   so the section is large enough.

Check for the case of shear:

Vs,min = 116fc'b.d        OR =  13  b.d          which is larger.

Vs,min = 11624×120×286×10-3  =10.5 KN

Vs,min = 13 ×120×286×10-3=11.44        cont.

Ø(Vsmin +Vc ) = 0.75(11.44 +28.022) =29.6 KN.

Vu>Ø(Vsmin +Vc )        case( III) for shear design.

Smax≤d2=286 2=143 mm     OR   Smax≤600mm

Smax =143  mm     cont.

By using  ɸ 10 double legs stirrups, Av = 157.1 mm2

s=AvfytVsd=157.1×420×286112.08×1000=168.4 mm

Use  2 leg ɸ10 @150mm

For all spans  2 leg ɸ10 @150mm will be used for stirrups.

4.6 Design of Beam(B16) :

Load calculations:

Load calculations for B16:

Dead Load Calculations for Beam(B16):-

Table (4. 4)Dead Load Calculations for Beam(B16)

| Dead load from: | h×γ×1 | KN/m |
| --- | --- | --- |
| Tiles | 0.03×23×1 | 0.69 |
| Mortar | 0.03×22×1 | 0.66 |
| Coarse sand | 0.07×17×1 | 1.19 |
| Reinforced concrete | 0.35×25×1 | 8.75 |
| Plaster | 00.2×22×1 | 0.44 |
|  | ∑ | 11.7 KN/m |

The distributed Dead and Live loads acting upon B1 can be defined from the support reactions of the R1

From R1

The maximum support reaction (Service) from Dead Loads for R1  upon  B1 is  40.09  KN . The distributed Dead Load from the R1,1BF on B1,1BF:

DL =40.09/ 0.52=  78.65 KN/m

Live Load calculations: The maximum support reaction (Service) from Live Loads for R1,1BF upon B1,1BF is 16.17 KN .

The distributed Live Load from the R1,1BF on B1,1BF :

LL =16.17/ 0.52=  31.09KN/m

Figure 4. 7Loading and Moment /Shear Envelope.

- Flexural Design for (B16) :

Determine of  Mn,max :

d=350-40-8-252=289.5 mm

c=37d=37×289.5=124.07 mm

a=B.c=124.07×0.85=105.5mm

Mnmax =  0.85fc'ab( d -   a2  ) = 0.85×24×105.5×1000×(289.5-105.5/2 ) ×10-6= 509.53 KN.m

∅Mnmax = 0.82× 509.53 = 417.8 KN.m

Design as singly reinforcement

Design for positive moment :

- Mu = 314.2 , 290.9 KN.m

Rn=Mu∅bd2=314.2×1060.9×1000×289.52=4.16 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×4.16420=0.0112

As = ρ.b.d = 0.0112×1000×289.5 =3242.4mm2

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19 mm2

As,min =1.44201000×289.5=965 mm2 Control.

As= 3242.4 > As,min=965 mm2

Use7ø 25 Bottom, As,provided= 3436.1mm2>As,required= 3242.4 mm2.         Ok

- Check spacing :

Smax=380280fy-2.5Cc=203.33 control         OR      S=300280fs=200

S =1000-40×2-10×2-25×76=120.8 mm>25>20.33… OK

- Check for strain:

a =As.fy0.85b fc'=3436.1×4200.85×1000×24=70.7mm

c=aB1=70.70.85=83.22mm

εs=0.003d-cc=0.003289.5-83.2283.22=0.007>0.005                0k

- Mu = 230.1 , 245.1 KN.m

Rn=Mu∅bd2=245.1×1060.9×1000×289.52=3.25 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×3.25420=0.00847

As = ρ.b.d = 0.00847×1000×289.5 =2452.07 mm2

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19 mm2

As,min =1.44201000×289.5=965 mm2 Control.

As= 2452.07 > As,min=965 mm2

Use 5ø 25 Bottom, As,provided= 2453.12mm2>As,required= 2452.07 mm2.         Ok

- Check spacing :

Smax=380280fy-2.5Cc=203.33 control         OR      S=300280fs=200

S =1000-40×2-10×2-25×54=193.75 mm>25>20.33… OK

- Check for strain:

a =As.fy0.85b fc'=2453.12×4200.85×1000×24=50.5mm

c=aB1=50.50.85=59.4mm

εs=0.003d-cc=0.003289.5-59.459.4=0.0116>0.005                0k

- Mu = 193.8 KN.m

Rn=Mu∅bd2=193.8×1060.9×1000×289.52=2.57 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×2.57420=0.00656

As = ρ.b.d = 0.00656×1000×289.5 =1899.9 mm2

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19 mm2

As,min =1.44201000×289.5=965 mm2 Control.

As= 1899.9 > As,min=965 mm2

Use 4ø25 Bottom, As,provided= 1962.5 mm2>As,required= 1899.9  mm2.         Ok

- Check spacing :

Smax=380280fy-2.5Cc=203.33 control         OR      S=300280fs=200

S =1000-40×2-10×2-4×253=266.6 mm>25>20.33… OK

- Check for strain:

a =As.fy0.85b fc'=1962.5×4200.85×1000×24=40.4 mm

c=aB1=40.40.85=47.53mm

εs=0.003d-cc=0.003289.5-47.5347.53=0.0153>0.005                0k

Design for Negative moment :

- Mu = 362.4  KN.m

Rn=Mu∅bd2=362.4 ×1060.9×1000×289.52=4.8Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×4.8420=0.0132

As = ρ.b.d = 0.0132×1000×289.5= 3821.4mm2.

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19 mm2

As,min =1.44201000×289.5=965 mm2 Control.

As= 3821.4 mm2> As,min = 965mm2

Use 8ø 25 Top ,As,provided= 3925 mm2>As,required= 3821.4 mm2.         Ok

- Check spacing :

S =1000-40*2-2*10-(8×25)7=100 mm>25>Smax   OK

- Check for strain:

a =As.fy0.85b fc'=3925 ×4200.85×1000×24=80.8mm

c=aB1=80.80.85=95.06mm

εs=0.003d-cc=0.003289.5-95.0695.06=0.006>0.005                0k

- Mu = -323.5  KN.m

Rn=Mu∅bd2=323.5 ×1060.9×1000×289.52=4.3Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×4.3420=0.0116

As = ρ.b.d = 0.0116×1000×289.5= 3358.2 mm2.

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19 mm2

As,min =1.44201000×289.5=965 mm2 Control.

As= 3358.2 mm2> As,min = 965 mm2

Use7 ø 25Top ,As,provided= 3434.37 mm2>As,required= 3358.2 mm2.         Ok

- Check spacing :

S =1000-40*2-2*10-(25×7)6=120.8 mm>25>Smax   OK

- Check for strain:

a =As.fy0.85b fc'=3434.37 ×4200.85×1000×24=70.7mm

c=aB1=70.70.85=83.18mm

εs=0.003d-cc=0.003289.5-83.1883.18=0.007>0.005          OK

- Mu = -244.5 ,  -242.3 KN.m

Rn=Mu∅bd2=244.5×1060.9×1000×289.52=3.4 Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×3.4420=0.0089

As = ρ.b.d = 0.0089×1000×289.5= 2576.5 mm2.

- Check for As,min.

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×289.5=844.19mm2

As,min =1.44201000×289.5=965 mm2 Control.

As=2576.5mm2 >As,min = 965mm2

Use 6 ø 25Top ,As,provided=  2943.75mm2>As,required= 2576.5 mm2.         Ok

- Check spacing :

S =1000-40*2-2*10-(25×6)5=150 mm>25>Smax   OK

- Check for strain:

a =As.fy0.85b fc'=2943.75 ×4200.85×1000×24=60.6mm

c=aB1=60.60.85=71.3 mm

εs=0.003d-cc=0.003289.5-71.371.3=0.009>0.005

- Shear Design for (B16):

- Vu = 393.2  KN

Vc = 16fc'b d= =  1624*700*289.5*10-3=165.46KN

Φ Vc= 0.75*165.46 =124.1KN

Vs,min= 13b d = = 13 700* 289.5*10-3= 67.48 KNcontrol

V s,min= 116fc'bw d = 116*24*700*289.5*10-3=62.04KN

Vs'= 13fc'bw d = 1324*700*289.5*10-3=330.9 KN

∅Vc<Vu   ≤       ∅(Vc+ Vs,min)

124.1   <  393.2  <  0.75(165.46 + 62.04)

124.1 <  393.2  < 170.67  … Not ok

Vu,max =393.2KN.

d= h-cover-dstirrup-db2 = 350-40-10-252=287.5 mm.

Vc = 16fc'b.d=1624×700×287.5×10-3=164.3 KN

Check for section dimensions:

Vs =Vu∅-Vc=393.20.75-164.3=359.9 KN

Vs,max = 23fc'b.d=2324×700×289.5×10-3=657.27 KN

Vs<Vsmax   so the section is not  large enough.

Check for the case of shear:

Vs,min = 116fc'b.d        OR =  13  b.d          which is larger.

Vs,min = 11624×700×289.5×10-3  =62.04KN

Vs,min = 13 ×700×289.5×10-3=67.55       cont.

Ø(Vsmin +Vc ) = 0.75(67.55+164.3) =173.6 KN.

Vu>Ø(Vsmin +Vc ) ok

case( III) for shear design.

Smax≤d2=289.5 2=144.75 mm     OR   Smax≤600mm

Smax =144.75 mm     cont.

By using  ɸ 10 double legs stirrups, Av = 157.1 mm2

s=AvfytVsd=157.1×420×289.567.55×700=403.97 mm

Use  2 leg ɸ10 @200mm

For all spans  2 leg ɸ10 @200mm will be used for stirrups.

4.7 Design of Two Way Solid Slab:

- Calculate the minimum thickness slab :

hmin=22 cm

Y = ∑AY3∑A

yB38=22*60+38*22\2+38+60*38*(38\2)60*38+60+38*22=33.58cm

Ib = ∑I +∑Ay2

IbB38=98*22312 + 98*22*15.422+  60*38312+ 60*38*  14.582  =1358638.78cm4

Y = ∑AY3∑A

yB38=22*136*22\2+38+60*38*(38\2)136*22+38*60=36cm

Ib = ∑I +∑Ay2

IbB38=136*22312 + 136*22*132+  60*38312+ 38*60*  172  =1296037.33cm4

Is1=481\2+60*22^312=266643.67cm4

Is2=567\2+60*22^312=304799cm4

Is3=283.5+282+60*22^312=555027cm4

Is4=240.5+275+60*22^312=510660.33cm4

∝f1=∝f2=Ib01Is3=1296037.33555027=2.34

∝f3=Ib38Is4=1296037.33510660.33=2.5

∝f4=Ib03Is2=1358638.78266643.67=5.09

∝fm=∑∝4=2*2.34+2.5+5.094=3.067>2

for∝fm>2

hmin=ln*0.8+Fy140036+9B=5670*0.8+420140036+9*1.18=133.7cm>90mm

h=13.37<hmin=22 ok

take hslab=22cm

- Dead load calculations:

Table(4.7) calculation of the two way solid Dead load

| Dead load from: | δ×γ | KN/m |
| --- | --- | --- |
| Tiles | 0.03×23×1 | 0.69 |
| Mortar | 0.02×22×1 | 0.44 |
| Coarse sand | 0.07×16×1 | 1.12 |
| Slab | 0.22×25×1 | 5.5 |
| Plaster | 0.02×22×1 | 0.44 |
| Partitions | 2.3*1 | 2.3 |
|  |  | 10.49 |

Dead load =10.49 KN/m2.

Live load = 5 KN/m2.

WuD = 1.2*Dead load = 1.2*10.49= 12.59 KN/m2.

WuL = 1.6*live load = 1.6*5 = 8 KN/m2.

Wu = 12.59+8 = 20.59 KN/m2

- Shear Design :

la/lb=0.85

Wa = 0.49

Wb = 0.51

- The total load on the panel being ( 4.81*5.67*20.59) = 561.5 KN\m

- The load at face of the long beam is (0.70×561.5/(2*5.67))=34.7 KN\m

- The load at face of the long beam is (0.30×561.5/(2*4.81))=17.5 KN\m

Assume the Φ 14

d=220-20-14\2=193mm

- Vc =(√24  *1000*193*10^-3)\6 =157.6KN1.16ʎfc'bwd=1.1628×1000×314×10-3=304.614 KN

øVc  = 0.75*157.6 = 118.18KN

Vu<  øVc.

The thickness of the slab is adequate enough

- Flexural Design:

(la/lb=0.85)

Positive moments :

Dead load :

Ca=0.029

Cb=0.017

Live load :

Ca=0.040

Cb=0.022

Ma+ve,Dl=Ca*W* La2 =0.029*12.59*4.81 2= 8.45KN.m\m

Ma+ve,Ll=Ca*W* La2 =0.040*8*4.812= 7.4KN.m\m

Ma+ve = Ma+ve,L + Ma+ve,D = 15.85KN.m\m

Mb+ve,D=Cb*W* Lb2 =0.017*12.59*5.672= 6.88KN.m\m

Mb+ve,L=Cb*W* Lb2*b =0.022*8*5.67 2= 5.66KN.m\m

Mb+ve = Mb+ve,L + Mb+ve,D = 12.54KN.m/m

- Positive Moment:

*Mua=  15.85KN.m/m

Assume the dBar =16 mm

d =h- cover - (dBar\2) =220-20-14\2=193mm

Rn=Mu∅bd2=15.85 ×1060.9×1000×1932=0.47Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.47420=0.001132

As = ρ.b.d = 0.001132×1000×193= 218.5 mm2.

=0.0018 * b * h = 0.0018*1000*193=347.4

As=218.5mm2 <As,min = 347.4mm2

Use3 ø 14 ,As,provided= 461.8 mm2>As,required= 347.4 mm2.         Ok

*Mub=  12.54KN.m/m

Assume the dBar =14 mm

d =h- cover - (dBar\2) =220-20-14\2=193mm

Rn=Mu∅bd2=12.54 ×1060.9×1000×1932=0.37Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.37420=0.000899

As = ρ.b.d = 0.000899×1000×193= 173.5mm2.

=0.0018 * b * h = 0.0018*1000*193=347.4

As=173.5mm2 <As,min = 347.4mm2

Use3 ø 14 ,As,provided= 461.8 mm2>As,required= 347.4 mm2.         Ok

- Negative Moment:

Ca = 0.049

Cb = 0.046

Ma = Ca * W * la2 = 0.049*20.59*4.812=23.3

Mb = Cb * W * lb2 = 0.046*20.59*5.672=30.45

Mua=  23.3N.m/m

Assume the dBar =16 mm

d =h- cover - (dBar\2) =220-20-16\2=192mm

Rn=Mu∅bd2=23.3 ×1060.9×1000×1922=0.702Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.702420=0.0017

As = ρ.b.d = 0.0017×1000×192= 326.77mm2.

=0.0018 * b * h = 0.0018*1000*192=345.6

As=326.77mm2 <As,min = 345.6mm2

Use2 ø 16 ,As,provided= 402.12 mm2>As,required= 345.6 mm2.         Ok

Mua=  30.45N.m/m

Assume the dBar =16 mm

d =h- cover - (dBar\2) =220-20-16\2=192mm

Rn=Mu∅bd2=30.45 ×1060.9×1000×1922=0.92Mpa.

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×0.92420=0.00224

As = ρ.b.d = 0.00224×1000×192= 430.5mm2.

=0.0018 * b * h = 0.0018*1000*192=345.6

As=430.5mm2 >As,min = 345.6mm2

Use3 ø 16 ,As,provided= 603.18 mm2>As,required= 430.5 mm2.         Ok

4.8 Design of Stair:

Figure4.6: Stair Plan.

- Material :-

- concrete    B300                Fc' = 24 N/mm2

- Reinforcement Steel         Fy = 420 N/mm2

- Design of Flight :-

- Determination of Thickness:-

hmin = L/20

hmin = 5.83/20 =29.15 cm

Take h = 30cm

The Stair Slope by θ = tan-1(170/ 300) = 29.54o

- Load Calculation:-

Dead Load For Flight For 1m Strip:-

Table4-8:Dead Load Calculation of Flight.

| Calculation |  | Parts of Flight | No. |
| --- | --- | --- | --- |
| 27*0.03*1*(0.3+0.170)/0.3 = 1.269 KN/m |  | Tiles | 1 |
| 22*0.02*1*(0.3+0.170)/0.3 = 0.689 KN/m |  | Mortar | 2 |
| 25*1*(0.3*0.170*0.5 )/0.3 = 2.125 KN/m |  | Stair | 3 |
| 25*0.30*1 / COS 29.54 = 8.62 KN/m |  | Slab | 4 |
| 22*0.03*1 / COS 29.54= 0.759KN/m |  | Plaster | 5 |
| 13.462 KN/m | Sum |

Live Load For Landing For 1m Strip = 5*1 = 5 KN/m

Factored Load For Flight :-

WU = 1.2 ×13.462+ 1.6×5 =24.15KN/m

- Design of Landing :

- Load Calculation:-

| Calculation |  | Parts of Flight | No. |
| --- | --- | --- | --- |
| 22*0.03*1= 0.66 KN/m |  | Tiles | 1 |
| 22*0.02*1= 0.44 KN/m |  | Mortar | 2 |
| 25*0.25*1= 6.25 KN/m |  | concreat | 4 |
| 22*0.03*1= 0.66 KN/m |  | Plaster | 5 |
| 8.01 KN/m | Sum |

Dead Load For Landing For 1m Strip:-

Live Load For Landing For 1m Strip = 5*1 =5 KN/m

Factored Load For Landing :-

WU = 1.2 ×8.01+ 1.6×5=17.6KN/m

Fig 4.7: Stair Section.

- Design of Shear for Flight :- (Vu=56.4 KN)

Assume bar diameter ø 12 for main reinforcement

d =h- cover -db2=300-20-122=274mm

Vu = 56.4KN

Vc = 16fc'bw d=1624*1000*274=223.7KN/m

Φ Vc = 0.75* 223.7 = 167.7 KN /m

Vu = 56.4 <Φ VC = 167.7 KN /m

- Design of Bending Moment for Flight :- (Mu=99.7KN.m)

d =h- cover -db2=300-20-162=272mm

Rn=Mu∅bd2=99.7×1060.9×1000×2722=1.49  Mpa

m=fy0.85fc'=4200.85×24=20.6

ρ=1m1-1-2.m.Rn420=120.61-1-2×20.6×1.49420=0.00368

As,req = ρ.b.d = 0.00368 ×1000×272 = 1003.1mm2

As,min =0.25f'cfybw.d≥1.4fybw.d

As,min =0.2524420 1000×272=793.17mm2

As,min =1.44201000×272=906.67 mm2 Control.

As=1003.1mm2 >As,min = 906.67mm2    ok .

Use 5ø16 ,As,provided= 1005.3 mm2>As,required= 1003.1mm2.         Ok

Use  1ø16@20cm

Check for Spacing :-

- S = 3h = 3*300 =900 mm

- S = 380*(280/(2/3  * 420)) – 2.5*20 = 330 ≤ S = 300*(280/(2/3  * 420)) = 250mm

- S = 450 mm

S = 250  mm  ……… is control

Use ø16@ 200 mm

Fig 4.7: Stair Reinforcement.

4.9 Design of Column

- Material :-

- concrete    B350                Fc' = 24 N/mm2

- Reinforcement Steel        Fy = 420 N/mm2

- Load Calculation:-

Service Load:-

Dead Load =3000 KN

Live Load =810  KN

Factored Load:-

PU = 1.2 ×3000 + 1.6×810 =4896 KN

- Dimensions of Column:-

4896*1000 = 0.65*0.8*Ag(28.39)

Ag= 331621.04 mm2

Assume square tied  Section

Ag = a*a

a = 550mm

Ag = 550*550 =302500mm2

Selecting Longitudinal Bars:

4896*1000 = .65*.8{.85*24(302500-Ast)+Ast*420}

Ast=8119.08 mm2

Use20 25 ,Ast,prov=9812.5 mm2>Ast=8119.08 mm2

=Ast/Ag= 0.03

Fig 4.9:Column section and  reinforcement.

- Design of the tie reinforcement :

S ≤16  db (longitudinal bar diameter)

S≤ 48dt  (tie bar diameter).

S ≤ Least dimension.

spacing  ≤16×db=16×25=400mmcontrol….

spacing  ≤48×dt=48×10 = 480mm

spacing  ≤least.dim=550  mm

Use210@200 mm

4.10  Design of Basement wall

4.10.1  Load Calculation:-

γ=soildensity= 18KNm3.

∅=angleofinternalfriction=30°.

LL=5 KN/m2 .

Thickness = 30cm, cover = 4cm .

The design will be for 1m width .

Neglect the axial load, since its low value

q1=soilpressure=Ko*γ*h.

q2=surchargepressure= Ko*LL.

Ko=soilpressurecoefficientatrest=  1-sin∅.

So ,

Ko=1-sin∅=0.5.

q1=0.5*18*3.50=31.5KNm2.

q2=0.5*5=   2.5KNm2.

Factored Load :-

q1u=31.5*1.6=50.4 KN/m2

q2u=2.5*1.2=3 KN/m2

Figure 4. 10 Moment /Shear Envelope

4.10.2  Design of bending moment of wall :-

Design for positive moment  Mu =64 KN.m .

d=300-40-162=252 mm.

Mn=Mu0.9=640.9=71.11 KN.m

Rn=Mn*106b*d2=45.56*1061000*2522=1.12 Mpa.

m=Fy0.85*fc'=4200.85*25=19.76

ρ=1m*1-1-2*Rn*mFy=119.76*1-1-2*1.12*19.76420=1.21*10-3

Asreq =ρ*b*d=1.74 *10-3*1000*252=304.92mm2m.

Asminv=0.0012*b*h=0.0012*1000*300=360 mm2/m. ….control.

Asminforflexture =0.25*fc'fy*bw*d=0.25*25420*1000*252=750 mm2/m.

Asminforflexture =1.4fy*bw*d=1.4420*1000*252=840mm2/m….control.

For inside wall Select ∅12@25cm=452.4 mm2>437.71mm2.

For outside wall Select ∅12@12.5cm=904mm2>840mm2.

4.10.3  Design of shear force :-

d=300-40-8=252mm

∅Vc=0.75*16*fc'*b*d=0.75*16*25*1000*252*10-3=157.5 KN.

∅Vc=157.5>Vu=58.8.

No shear Reinforcement is required and thickness of wall is adequate enough.

But horizontal Reinforcement due to Cracking:

Asreqh=0.002*b*h=0.002*1000*300=600mm2/m.

For one side As=300 mm2/m.

Select for one side horizontal reinforcement ∅10@25cm=314.16 mm2>300 mm2

4.11 Design of Footing: Design of Group (2) – 6232 KN Factored Load

- Material :

- concrete    B350                Fc' = 24 N/mm2

- Reinforcement Steel         Fy = 420 N/mm2

- Load Calculations :(From Column Group 4)

Dead Load = 3450KN , Live Load = 1100KN

Total services load = 3450+ 1100 = 4550 KN

Total Factored load = 1.2*3450 + 1.6*1100= 5900KN

Column Dimensions (a*b) = 65*65 cm

Soil density = 18 Kg/cm3

Allowable Bearing CapacityQallawable = 350 KN/m2

Assume h = 90cm

= 350 – 25*0.9 – 18*0.5= 318.5kn/m2

- Area of Footing :

A=Pt=4550318.5= 14.07 m2

Assume Square Footing

B = =3.73 m

Select B =3.75

L= B = 3.75 m

- Bearing Pressure :

qu = 5900/(3.75*3.75) = 419.6 KN/m2

- Design of Footing :

- Design of One Way Shear Strength :

Critical Section at Distance (d) From The Face of Column

Assume h = 90cm, bar diameter ø 14 for main reinforcement      and 7.5 cm Cover

d = 900 – 75 – 14 = 811 mm

Vu = qu * B2-a2-d*L

Vu = 419.6* 3.752-0.652-0.811*3.75 = 1165 KN

- Design of Two Way Shear Strength :

The punching shear strength is the smallest value of the following equations:

Where:

= Perimeter of critical section taken at (d/2) from the loaded area

= 40 for interior column

ФVc =6270 KN<Vu=5000 KN

- Design of Bending Moment :

Critical Section at the Face of Column

FR = qu * B-a2*L = 419.6 * 3.75-0.652 *3.75 =2439 KN

Mu = 2439* 3.752-0.6522/ = 1891 KN.m

Rn=Mu∅bd2=1891×1060.9×3750×8112=0.85 Mpa

m=fy0.85fc'=4200.85×28=17.65

ρ=1m1-1-2.m.Rn420=117.61-1-2×17.65×0.85420=0.00206

As,req = ρ.b.d = 0.00206×3750×811 = 6265 mm2

As,min = 0.0018*3750*900 = 6075 mm2

As,req =6265 mm2   ……… is control

Check for Spacing:

S = 45 cm

S = 3h = 3*90 = 270cm

S = 380*(28023 * 420) – 2.5*75 = 192.5 cm

S = 45 cm  ……… is control

Use 32ø16 in Both Direction, As,provided= 6432mm2>As,required= 6265 mm2…  Ok

Check for strain:

a =As.fy0.85b fc'=6432×4200.85×3750×28=30.26 mm

c =aB1=30.260.85=35.61 mm

εs=0.003d-cc=0.003811-35.6135.61=0.065>0.005 ……0k

fig (4-28) : Plan and section reinforcement of mat foundation

Fig 4.19:Foot Reinforcement Details.